## Slide 1: Repeatability Tests
Kodanda Challa

## Slide 2: Calibration of Three points
Calibrating Point 1 ÷ 3 again - again after different actions
Repeatabilty tests (Actions)
  Piston
  Rail
  Piston Rail
PNT = Point
INT: Intersection
CYL: Cylinder
PLN_CYL: Plane of CYL

## Slide 4: Piston_Rail Repeatability Tests
Initial Measurement:
  With the piston at Top Dead Centre (TDC), and Platform at End 1, record the coordinates of Point 1 Point 2 and Point 3 using the Coordinate Measuring Machine (CMM).
Movement Cycle:
  Move the piston from TDC to Bottom Dead Centre (BDC) and then back to TDC.
  Move the rail from End 1 to End 2 and then back to End 1.
Repeat Measurement:
  Record the coordinates of Point 1 Point 2 and Point 3 again using the CMM.
Repetitions:
  Repeat steps 2 and 3 ten times for a total of ten measurements.

## Slide 5: Piston_ Rail Repeatability test (outcome)

## Slide 6: Piston Repeatability Tests
Initial Measurement (TDC):
  With the piston at Top Dead Centre (TDC), record the coordinates of Point 1 Point 2 and Point 3 using the Coordinate Measuring Machine (CMM).
Piston Movement Cycle:
  Move the piston from TDC to Bottom Dead Centre (BDC) and then back to TDC.
Repeat Measurement (TDC):
  With the piston now back at TDC, record the coordinates of Point 1 Point 2 and Point 3 again using the CMM.
Repetitions:
  Repeat steps 2 and 3 ten times for a total of ten measurements at TDC after the piston movement cycle.

## Slide 7: Piston Repeatability test (outcome)

## Slide 8: Rail Repeatability Tests (Piston upside)
Initial Measurement (End 1):
  With the rail at End 1 record the coordinates of Point 1 Point 2 and Point 3 using the Coordinate Measuring Machine (CMM).
Rail Movement Cycle:
  Move the rail from End 1 to End 2 and then back to End 1.
Repeat Measurement (End 1):
  With the rail now back at End 1, record the coordinates of Point 1 Point 2 and Point 3 again using the CMM.
Repetitions:
  Repeat steps 2 and 3 ten times for a total of ten measurements at End 1 after the rail movement cycle.

## Slide 9: Rail Repeatability test (outcome – Upside Piston)

## Slide 10: Rail Repeatability Tests (Piston Downside)
Initial Measurement (End 1):
  With the rail at End 1 record the coordinates of Point 1 Point 2 and Point 3 using the Coordinate Measuring Machine (CMM).
Rail Movement Cycle:
  Move the rail from End 1 to End 2 and then back to End 1.
Repeat Measurement (End 1):
  With the rail now back at End 1, record the coordinates of Point 1 Point 2 and Point 3 again using the CMM.
Repetitions:
  Repeat steps 2 and 3 ten times for a total of ten measurements at End 1 after the rail movement cycle.

## Slide 11: Rail Repeatability test (outcome-Downside Piston)

## Slide 12: Conclusion
Maximum Error is 0.121 mm

## Slide 13: Conclusion
Maximum deviation range is < ±0.06 mm from the Mean Value
=Test Value – Mean Value

## Slide 14: Conclusion
Maximum deviation range is < ±0.06 mm from the Median Value
=Test Value – Median Value

## Slide 15: Thank You